	CAUSE OF HARM
	PERSONS AFFECTED
	EXISTING CONTROL MEASURES
	EXISITNG RISK

High/Med/Low
	ACTION REQUIRED

	FIRE
	All hall users through burns & smoke inhalation
	Fixed fire alarm throughout the building.

Fire extinguishers throughout the building.

Fire exit signs showing nearest safe exit.

All hall users are provided with evacuation procedure and acquainted with fire alarm and assembly points.

Upstairs rooms only to be used for storage due to no adequate escape route.

No gas appliances to be used inside the hall.
	Low
	Annual testing of extinguishers.

	ELECTRICITY
	All hall users through electric shock
	Electrical system needs up-grading.

Portable appliances checked and tested by approved person and marked accordingly.

Regular checks made by committee members for general wear and tear.
	Low/Medium
	Council owned listed building needs rewiring.  Constant liaison with Council re upgrading of facilities.

	HAZARDOUS SUBSTANCES
	Hall users may become ill if  coming into contact with hazardous cleaning materials
	All cleaning materials are kept separately in locked cupboard.


	Low
	.

	STORAGE
	Committee members (and some hall users) through injury from falling equipment
	All tables and chairs to be stored neatly in accordance with posters displayed in premises.
	Low
	We are currently trying to get funding for external storage sheds.

	FOOD HYGIENE
	All hall users through inappropriately stored 

and/or prepared food
	One Committee member has a Food Hygiene Certificate.
	Low
	Arrangements are being made for several others to get certification.

	TRIPPING
	All hall users through tripping 
	Corridors and doors are to be kept clear of obstructions at all times. 


	Low
	

	LONE WORKING

	Committee Members working alone in the building
	Committee members are aware that working alone in the hall presents a small risk and are advised to make sure they carry a mobile phone with them to call for assistance in case of emergency.
	Low
	None

	UNRULY BEHAVIOUR
	Committee Members / Stewards at functions
	All functions in the hall will be adequately stewarded; committee members will only act as additional stewards to professionally trained and appointed security staff.
	Low
	None


